## H3C
S.# | Item Code | Item Description | UOM | Qty
* | S6520X-HI_GL Switch #1
1 | LS-6520X-54QC-HI-GL | H3C S6520X-54QC-HI L3 Ethernet Switch(48SFP Plus+2QSFP Plus+2Slot),Without Power Supplies | Ea | 1
2 | LSWM1QSTK1 | 40G QSFP+ Cable 3m | Ea | 1
3 | SFP-GE-T-D | SFP GE Copper Interface Transceiver Module (100m,RJ45) | Ea | 1
4 | PSR250-12A1-GL | 250W AC Power Supply Module (Power Panel Side Exhaust Airflow) | Ea | 0
5 | LSWM1FANSCBE | Fan Module (Fan Panel Side Exhaust Airflow) | Ea | 0
6 | SV-MA-CT-BS8-INT | CT-Foundation Basic Service 1Y 5×9 Next Business Day-S, INT | Ea | 0
* | S5570S-EI Switch #2
7 | LSWM1QSTK1 | 40G QSFP+ Cable 3m | Ea | 2
8 | SFP-GE-T-D | SFP GE Copper Interface Transceiver Module (100m,RJ45) | Ea | 12
9 | PSR250-12A1-GL | 250W AC Power Supply Module (Power Panel Side Exhaust Airflow) | Ea | 4
10 | SV-MA-CT-BS8-INT | CT-Foundation Basic Service 1Y 5×9 Next Business Day-S, INT | Ea | 4
* | S5570S-EI Switch #2
7 | LS-5570S-54S-PWR-EI-A-GL | H3C S5570S-54S-PWR-EI-A L3 Ethernet Switch with 48*10/100/1000BASE-T Ports and 6*1G/10G BASE-X SFP Plus Ports, Without Power Supplies, PoE+ | Ea | 0
8 | LSWM2STK | SFP+ Cable 1.2m | Ea | 10
9 | PSR920-54A-B | H3C,PSR920-54A-B,920W/AC PoE Power Supply | Ea | 10
10 | SV-MA-CT-BS8-INT | CT-Foundation Basic Service 1Y 5×9 Next Business Day-S, INT | Ea | 10
* | Active Wireless Controller
11 | EWP-WX2880X | H3C WX2880X Access Controller with 10*1000BASE-T Ports and 2*SFP Plus Ports | Ea | 0
14 | EWP-WA6520-FIT | H3C WA6520 Internal Antennas 4 Streams Dual Radio 802.11ax/ac/n Access Point,FIT | Ea | 36
12 | LIS-WX-8-BE | Enhanced Access Controller License,8 APs,for Verticals,for V7V9 | Ea | 36
13 | LIS-WX-64-BE | Enhanced Access Controller License,64 APs,for Verticals,for V7V9 | Ea | 36
15 | SV-MA-CT-BS8-INT | CT-Foundation Basic Service 1Y 5×9 Next Business Day-S, INT | Ea | 4
* | Standby Wireless Controller
16 | EWP-WX2880X | H3C WX2880X Access Controller with 10*1000BASE-T Ports and 2*SFP Plus Ports | Ea | 1
17 | SV-MA-CT-BS8-INT | CT-Foundation Basic Service 1Y 5×9 Next Business Day-S, INT | Ea | 68
* | Firewalls
18 | NS-F1000-AI-55 | H3C SecPath F1000-AI-55 Firewall Appliance with 16*GE Copper,6*SFP Fiber,2*SFP Plus,4*Combo,1*Management Port,2*USB,1*Console,and 2*Slots | Ea | 1
19 | NS-SSD-480G-SATA-SFF | H3C SecPath Series,480GB 2.5inch SATA SSD HardDisk Module | Ea | 4
21 | LIS-IMC7-SVF1KA-25 | H3C iMC, SSL VPN Client, F1000, 25 Licenses | Ea | 0
22 | LIS-F1000-AI-55-TAIAU-1Y | H3C SecPath F1000-AI-55 Firewall TI/ACG/IPS/AV/URL Signature Update License,1 Year | Ea | 1
23 | LIS-F1000-AI-55-TAIAU-3Y | H3C SecPath F1000-AI-55 Firewall TI/ACG/IPS/AV/URL Signature Update License,3 Years | Ea | 4
24 | LIS-F1000-SSL-25 | H3C SecPath F1000,SSL VPN for 25 Users | Ea | 0
25 | SV-MA-CT-BS8-INT | CT-Foundation Basic Service 1Y 5×9 Next Business Day-S, INT | Ea | 2
26 | SV-MA-SDN-BS5-G | Network Software 1Y 7×24 Remote Technical Support, INT | Ea | 2
20 | PSR150-A1-B | 150W AC Power Supply | Ea | 2
* | SFP
27 | SFP-XG-SX-MM850-A | SFP+ Module(850nm,300m,LC) | Ea | 2
* | Server
25 | SV-MA-CT-BS8-INT | CT-Foundation Basic Service 1Y 5×9 Next Business Day-S, INT | Ea | 4
| SV-MA-SDN-BS5-G | Network Software 1Y 7×24 Remote Technical Support, INT
| PSR150-A1-B | 150W AC Power Supply
| SFP | 0
| SFP-XG-SX-MM850-A | SFP+ Module(850nm,300m,LC)
| Server | 0
| 0235A4HD | H3C UniServer R4900 G6 LFF CTO Server
| 0231AL0C | 4410Y(2.0GHz/12Cores/30MB/150W)CPU Module(CTO&BTO)
| 0231AK7R | 32GB 1RX4 DDR5-4800 RDIMM Memory Module(CTO&BTO)
| 0231AK7A | G6 2U Front 8LFF Drive Backplane Module(CTO&BTO)
| 0231AH1H | 960GB 6G SATA 3.5in RI PM893 SSD UCC Generic Module(CTO&BTO)
| 0231AJQF | G6 2U Riser1/Riser2 3X16 Riser (Supporting 2*150W GPUs and 1*FHHL) (CTO&BTO)
| 0231AN1D | 2-Port 10GE Fiber Interface OCP3.0 Ethernet Adapter (ETH531F)(CTO&BTO)
| 0231AJQD | G6 BMC Management Board Module(CTO&BTO)
| 0231A8KB | SFP+ 10Gb Module(850nm,300m,LC)
| 0231AGUQ | 800W AC & 240V HVDC Power Supply(GW-R2-Platinum-Light Load and High Efficiency)(CTO&BTO)
| 0404A1WV | AUX Signal Cable,0.3m,HMB(6*1)1.25,UL2835,HMB(6*1)1.25
| 0404A1WW | Internal DC Power Cable,0.35m,HMB(3*2)3.0,UL1061,HMB(3*2)3.0
| 0404A1S2 | SAS Cable,0.72m,2*SlimSAS 38P,SAS 3.0+UL1354,MiniSAS HD 72P
| 0404A1Q1 | PCIe Cable,0.7m,MCIO 74PDA,PCIe 5.0+UL1354+SAS 4.0,MCIO 74PST
| 0404A1QH | PCIe Cable,0.25m,MCIO 74PST,PCIe 5.0+UL1354+SAS 4.0,MCIO 74PST
| 0404A0K4 | AC Jumper Cord,2.0m,1.0mm^2,Black,C14C(3P)STM250V10A,227 IEC 53(RVV)&H05VV-F&SJT,C13,CCC/UL/EU/KC
* | Professional Services:
| SRV | Configuration, Testing & Commissioning. | Lot. | 1

## DATWYLER
S.# | Item Code | Item Description | UOM | Qty | DLV | Diff
* | Copper Solution - :
1 | 418019 | 24 Ports Cat 6A Patch Panel 19" 1U,Shielded, Empty, Black Color -Datwyler. | Ea | 82 | 82 | 0
2 | 4000699 | 1U Cable Mangment 19" with Cover -Datwyler. | Ea | 82 | 82 | 0
3 | 418069 | Cat 6A RJ45-Module Shielded, KS-Keystone Plus(IEC) TIA-B - Datwyler. | Ea | 1968 | 1968 | 0
4 | 418069 | Cat 6A RJ45-Module Shielded, KS-Keystone Plus(IEC) TIA-B - Datwyler. | Ea | 1191 | 1195 | 4
5 | 57075317 | RJ 45 FOR CAT6A | Ea | 416 | 416 | 0
7 | 653508 | Cat 6A Patch Cord Shielded, FRNC/LS0H Sheath ,Grey Color, 1 Meter -Datwyler. | Ea | 1968 | 1968 | 0
6 | 240641 | RJ-45 Angled Face Plate Single Port, Empty, white color -Datwyler (To be delivered by Alghanem) | Ea | 780 | 780 | 0
8 | 653512 | Cat 6A Patch Cord Shielded, FRNC/LS0H Sheath , Grey Color,3Meter -Datwyler. (To be delivered by Alghanem) | Ea | 1191 | 1191 | 0
* | Fiber Solution - :
9 | 18595900DZ | 8C Fibre Optic Cable MM(OM3-50/125µm), Loose Tube, Glass Armoured, Indoor/Outdoor LS0H Sheath -Datwyler. | Ea | 3150 | 3150 | 0
10 | 41522400ZY | Fibre Patch Panel 1U 12 SC (6 SCD) Multi Mode, full Loaded with Adapters, Ceramic Sleeve and 12 Pigtails MM OM3 2meter -Datwyler. | Ea | 21 | 18 | -3
11 | 41523200ZY | Fibre Patch Panel 1U 48 SC (24 SCD) Multi Mode, full Loaded with Adapters, Ceramic Sleeve and 48 Pigtails MM OM3 2meter -Datwyler. | Ea | 2 | 2 | 0
12 | 421333 | Fibre Optic Patch Cord MM 50/125 OM3 SC-LC Duplex 3Meter -Datwyler. | Ea | 84 | 0 | -84
* | UPS- :
13 | 40070200ZY | 20 kVA Online UPS,PF 1 Tower or/3U Rack Mounted(Additional Accessories) I/O 3Phase 380Vac 50/60Hz, W/O Batteries (2 Years Warranty) - Only for the main Cabinet | Ea | 1 | 0 | -1
14 | 40071000ZY | Battery Cabinet , with Built in 32 Pcs12V/65AH batteries (20 Minutes for 25kVA or 30kVA OR 30 minutes for 20kVA),25mm2,100A DC breaker, Stand-alone (1 Year Warranty) | Ea | 1 | 0 | -1
* | Cabinet- :
15 | GS.8042.9801 | 42U GS NETWORKING CABINET 800W X 1000D | Ea | 5 | 5 | 0
16 |  | 22U GS NETWORKING CABINET 600W X 600D | Ea | 2 | 2 | 0
17 | GS.6618.9802 | 18U GS NETWORKING CABINET 600W X 600D | Ea | 4 | 4 | 0
18 | W2.6615.9001 | 15U Wall Mounted CABINET 600W X 600D | Ea | 10 | 10 | 0
19 | CT-01001 | PDU 6 WAY (UK TYPE) 13A 19" WITH 2-METER X 1.5MM CABLE & UK PLUG | Ea | 34 | 34 | 0
* | Professional Services:
20 | SRV | Rack installation Termination & Splicing,Testing & Commissioning. | Lot. | 1 | 1 | 0

## PA
S.# | Item Code | Item Description | UOM | Qty | DLV | Diff
* | BOYS - :
1 | Compact Lite | Audio matrix 2 x 460 W RMS (music/backup and messages) and 8 speaker zones. Rack (2u) | Ea | 1 | 0 | -1
2 | MD-30ETH | Microphone desk with 18 zone selection keys, Ethernet connection | Ea | 1 | 0 | -1
3 | CP40-MP3BT | SOUND SOURCE MOD. CD/MP3 TUNER BT USB 1u | Ea | 1 | 1 | 0
4 | A-252BTM | 6W/100V 2,5" METAL CEILING SPEAKER | Ea | 41 | 0 | -41
5 | BS-6WA | 6W 100V WHITE OPTIMUS BAFFLE | Ea | 4 | 4 | 0
6 | AV-100 | 100 W attenuator, 100 V line, security paging (3 wires) | Ea | 3 | 0 | -3
7 |  | Azan Clock (Third Party) | Ea | 1 | 0 | -1
* | GIRLS- :
8 | Compact Lite | Audio matrix 2 x 460 W RMS (music/backup and messages) and 8 speaker zones. Rack (2u) | Ea | 1 | 0 | -1
9 | MD-30ETH | Microphone desk with 18 zone selection keys, Ethernet connection | Ea | 1 | 0 | -1
10 | CP40-MP3BT | SOUND SOURCE MOD. CD/MP3 TUNER BT USB 1u | Ea | 1 | 0 | -1
11 | A-252BTM | 6W/100V 2,5" METAL CEILING SPEAKER | Ea | 118 | 0 | -118
12 | BS-6WA | 6W 100V WHITE OPTIMUS BAFFLE | Ea | 6 | 6 | 0
13 | AV-100 | 100 W attenuator, 100 V line, security paging (3 wires) | Ea | 8 | 0 | -8
14 |  | Azan Clock (Third Party) | Ea | 1 | 0 | -1
* | Professional Services:
17 | SRV | Installation, Programming, Testing & Commissioning. | Lot. | 1 | 1 | 0

## CCTV
S.# | Item Code | Item Description | UOM | Qty | DLV | DIFF
* | one System | All buildings
1 | IPC325LB-SF28-A | UNV 5MP (2.8mm) IR Fixed Dome IP Camera | Ea | 271 | 271 | 0
2 | IPC2125LB-SF40-A | UNV 5MP (4.0mm) IR Fixed Bullet IP Camera | Ea | 77 | 77 | 0
3 | NVR508-128E-R | 8 Hard Disks 128-Channel Network Video Recorder | Ea | 3 | 2 | -1
4 | HDD 8T | WD HDD 8T | Ea | 9 | 9 | 0
5 | Dell OptiPlex7010 | Dell OptiPlex Tower (Plus 7010) 13th Gen Intel Core i7-13700 (8+8 Cores/30MB/24T/2.1GHz to 5.1GHz/65W) , M.2 2230 512GB PCIe NVMe Class 35 Solid State Drive ,, 16GB (2X8GB) DDR5 Non-ECC Memory , ,8x DVD+/-RW 9.5mm Optical Disk Drive , Intel Integrated Graphics , Dell Optical Mouse - MS116 - Black , Dell Wired Keyboard-KB216 - Arabic (QWERTY) - Black , Ubuntu Linux 18.04 , 3Y Basic Support and Next Business Day Onsite Service | Ea | 1 | 1 | 0
6 | Nvidia T1000 | Nvidia Quadro T1000 8GB | Ea | 1 | 1 | 0
7 | Dell 24 Monitor | Dell 24 Monitor ¦ P2419H - 68.6cm(24") Black | Ea | 1 | 1 | 0
8 | Xiaomi | 55" Display (Must Be delivered by Modern Houses as per Approved Specs) | Ea | 0 | 0 | 0
* | Professional Services:
17 | SRV | Installation, Programming, Testing & Commissioning. | Lot. | 1 | 1 | 0