## Data Passive
S.# | Item Code | Item Description | UOM | Qty | Unit Cost $ | Unit Cost SAR | Total | Unit Price | Total | % | 3.75 | Siemon | 0.8 | Rittal | 0.83
* | System Components - :
* | Passive Cat 6A Solution - :
1 | 9N6L4-A5-08-5CR | Cable, Copper, Category 6A, A5, 4 Pair, Solid, F/FTP, LSOH-1, Violet, Reel, 500 Meter, 23 AWG, Class Dca-s2,d2,a1 | Roll | 86 |  | 1350 | 116100 | 1687.5 | 145125 | 20%
2 | TM-PNLZ-24-01 | Copper, Patch Panel, Tera / MAX, Empty, Shielded, 24 Openings, Flat, 1U, Black, Fixed Wire Manager | Ea | 33 |  | 167 | 5511 | 208.75 | 6888.75 | 20%
3 | Z6A-S02 | Copper, Outlet, ZMAX, Shielded, Category 6A, RJ45, Hybrid, White, Tool-Less, T568A/B | Ea | 792 |  | 17 | 13464 | 21.25 | 16830 | 20%
4 | Z6A-S02D | Copper, Outlet, ZMAX, Shielded, Category 6A, RJ45, Hybrid, White, Tool-Less, T568A/B, with Door | Ea | 464 |  | 17 | 7888 | 21.25 | 9860 | 20%
5 | ZM6A-S01M-02B | Copper, Patch Cord, RJ45, RJ45, Category 6A, S/FTP, T568A/B, Stranded, CM/LSOH-1, White Cable, Clear Boot, 01 Meter, Bulk Pack, 26 AWG | Ea | 792 |  | 15 | 11880 | 18.75 | 14850 | 20%
6 | ZM6A-S03M-02B | Copper, Patch Cord, RJ45, RJ45, Category 6A, S/FTP, T568A/B, Stranded, CM/LSOH-1, White Cable, Clear Boot, 03 Meter, Bulk Pack, 26 AWG | Ea | 464 |  | 20 | 9280 | 25 | 11600 | 20%
* | Fiber Solution - :
7 | 9GGA5B006DT501N | CBL,6F,XGLO,MM,OM4,I/O,CT,GEL,ARM,LSOH-B2CA,BLK,MT | mtr | 1630 |  | 13.76 | 22428.8 | 17.2 | 28036 | 20%
8 | 9GD8L006D-E206M | Cable, 6 Fiber, XGLO, Singlemode, OS1/OS2, 8.3/125, Indoor/Outdoor, Tight Buffered, DWB Core, Non-Armored, LSOH-1, Blue | mtr | 600 |  | 4.5 | 2700 | 5.625 | 3375 | 20%
9 | LVE-1U-MD-T01A | Fiber, Enclosure, LightVerse Plus, Rack Mount, 1U, Sliding Access, 4 Openings, Black | Ea | 1 |  | 160 | 160 | 200 | 200 | 20%
10 | LVA24-LCU-BC-A | Fiber, Adapter Plate, LightVerse, 24 Fiber, LC, Flat, Blue Adapter, Black Housing, Ceramic Sleeve | Ea | 4 |  | 192.5 | 770 | 240.625 | 962.5 | 20%
11 | LVA-BLANK-01A | Fiber, Adapter Plate, LightVerse, Flat, Black Housing, Blank | Ea | 0 |  | 5 | 0 | 6.25 | 0 | 20%
12 | TRAYHD-1-A | Splice Tray, Fusion, 24 Splices | Ea | 4 |  | 55 | 220 | 68.75 | 275 | 20%
13 | FP1B-LCUL-01H | Fiber, Pigtail, Simplex, 900um Buffered, XGLO, Singlemode, LC UPC, OS1/OS2, 8.3/125, Yellow, LSOH-3C, 1 Meter | Ea | 96 |  | 12.08 | 1159.68 | 15.1 | 1449.6 | 20%
14 | HT-60 | HEAT SHRINK SLEEVE, 60MM | Ea | 96 |  | 0.82 | 78.72 | 1.025 | 98.4 | 20%
15 | LVE-1U-MD-T01A | Fiber, Enclosure, LightVerse Plus, Rack Mount, 1U, Sliding Access, 4 Openings, Black | Ea | 8 |  | 160 | 1280 | 200 | 1600 | 20%
16 | LVA24-LCQ-BC-A | Fiber, Adapter Plate, LightVerse, 24 Fiber, LC, Flat, Aqua Adapter, Black Housing, Ceramic Sleeve | Ea | 8 |  | 150.17 | 1201.36 | 187.7125 | 1501.7 | 20%
17 | LVA-BLANK-01A | Fiber, Adapter Plate, LightVerse, Flat, Black Housing, Blank | Ea | 24 |  | 5 | 120 | 6.25 | 150 | 20%
18 | TRAYHD-1-A | Splice Tray, Fusion, 24 Splices | Ea | 8 |  | 55 | 440 | 68.75 | 550 | 20%
19 | FP1B-LC5V-01AH | Fiber, Pigtail, Simplex, 900um Buffered, XGLO, Multimode, LC, OM4, 50/125, Aqua, LSOH-3C, 1 Meter | Ea | 192 |  | 12.13 | 2328.96 | 15.1625 | 2911.2 | 20%
20 | HT-60 | HEAT SHRINK SLEEVE, 60MM | Ea | 192 |  | 0.82 | 157.44 | 1.025 | 196.8 | 20%
21 | LBP-LCLC5V-03AH | Fiber, Jumper, Duplex, XGLO, Multimode, LC BladePatch, LC BladePatch, RFP, OM4, 50/125, Aqua, LSOH-3C, 3 Meter | Ea | 40 |  | 60.05 | 2402 | 75.0625 | 3002.5 | 20%
22 | LBP-LCULCUL-03H | Fiber, Jumper, Duplex, XGLO, Singlemode, LC BladePatch UPC, LC BladePatch UPC, RFP, OS1/OS2, 8.3/125, Yellow, LSOH-3C, 3 Meter | Ea | 12 |  | 59.6 | 715.2 | 74.5 | 894 | 20%
* | Data Cabinet - :
23 | 24U Cabinet 600*800 mm |  |  | 8
24 | 7888618 | TX CableNet, with glazed door, with roof plate, side panels, 19" mounting angles, WxHxD: 600x1200x800 mm, RAL 7035 | Ea | 8 |  | 4729.95 | 37839.6 | 5698.7349 | 45589.8795 | 17%
25 | 7888302 | TX brush strip, D x L: 800 mm x 80 mm, bristle length 80 mm, for cable entry in the roof | Ea | 8 |  | 252.39 | 2019.12 | 304.0843 | 2432.6747 | 17%
26 | FAN KIT
27 | 5503010 | SK Fan mounting plate, WHD: 550x42x220 mm, max. 3 fans RAL 7035 | Ea | 8 |  | 914.6 | 7316.8 | 1101.9277 | 8815.4217 | 17%
28 | 3110000 | SK Thermostat, enclosure internal thermostat, 24-230 V, 1~, 24-60 V (DC), Colour RAL 7035 | Ea | 8 |  | 140.07 | 1120.56 | 168.759 | 1350.0723 | 17%
29 | 6450060 | SM Connection cable, For power pack, with IEC 60 320, L: 1,5 m | Ea | 8 |  | 38.66 | 309.28 | 46.5783 | 372.6265 | 17%
30 | PDU
31 | 7979801 | PDU basic UK 13A/1P UK Plug 6x BS1363, WHD: 44x450x70 mm | Ea | 8 |  | 525.05 | 4200.4 | 632.5904 | 5060.7229 | 17%
32 | Cable Manager
33 | 5502115 | DK Cable finger for TS-IT, 6 U, RAL 9005, Packs of 14 pc(s) | Ea | 8 |  | 267.33 | 2138.64 | 322.0843 | 2576.6747 | 17%
34 | Earthing
35 | 7829150 | DK Earthing extension kit for TS IT, 8 earth straps, UL Style 1015 AWG 12 | Ea | 8 |  | 158.96 | 1271.68 | 191.5181 | 1532.1446 | 17%
36 | Captive nuts & screws
37 | 2094200 | EL Captive nuts, M6, With contact, For metal thickness: 0,8-2 mm, (pack of 50) | Ea | 8 |  | 60.25 | 482 | 72.5904 | 580.7229 | 17%
38 | 7094100 | DK Assembly screws, Phillips-head screw M6x16 mm | Ea | 8 |  | 13.36 | 106.88 | 16.0964 | 128.7711 | 17%
39 | Levelling feet
40 | 4612000 | PS Levelling foot, Adjustment height 18-43 mm, with thread M12 | Ea | 8 |  | 130.05 | 1040.4 | 156.6867 | 1253.494 | 17%
41 | 42U Cabinet 800*1000 mm |  |  | 1
42 | 5309116 | VX IT, 19" mounting angles, standard, RAL7035 WHD 800x2000x1000 42U, Aluminium/sheet steel door at the front, vented (vented surface area approx. 85% perforated), 180° hinges, Sheet steel rear door, vented, vertically divided, 180° hinges, Load Rating: 1500 kg, Color: Enclosure frame, rear door and roof: RAL 7035, Interior installation, vent grille at the front: RAL 9005 | Ea | 1 |  | 7544.41 |  | 9089.6506 | 9089.6506 | 17%
43 | 5301250 | Side panel, divided horizontally for enclosure height 2,000 mm, depth 1,000 mm. | Ea | 1 |  | 723.77 |  | 872.012 | 872.012 | 17%
26 | FAN KIT
27 | 5503010 | SK Fan mounting plate, WHD: 550x42x220 mm, max. 3 fans RAL 7035 | Ea | 2 |  | 914.6 | 1829.2 | 1101.9277 | 2203.8554 | 17%
28 | 3110000 | SK Thermostat, enclosure internal thermostat, 24-230 V, 1~, 24-60 V (DC), Colour RAL 7035 | Ea | 2 |  | 140.07 | 280.14 | 168.759 | 337.5181 | 17%
29 | 6450060 | SM Connection cable, For power pack, with IEC 60 320, L: 1,5 m | Ea | 2 |  | 38.66 | 77.32 | 46.5783 | 93.1566 | 17%
44 | PDU
45 | 7979116 | PDU basic 32A/1P CEE 24xC13 + 4xC19, WHD: 44x1295x70 mm, IEC 60 320 | Ea | 2 |  | 1431.01 | 2862.02 | 1724.1084 | 3448.2169 | 17%
46 | Earthing
47 | 7113000 | DK Earth rail, horizontal, L: 450 mm, For W: 600/800 mm | Ea | 1 |  | 141.27 | 141.27 | 170.2048 | 170.2048 | 17%
48 | 7829150 | DK Earthing extension kit for TS IT, 8 earth straps, UL Style 1015 AWG 12 | Ea | 1 |  | 158.96 | 158.96 | 191.5181 | 191.5181 | 17%
49 | Cable Management
50 | 5302052 | Cable duct, 42 U, for enclosure width 800 mm, for enclosure height VX IT 2000 mm | Ea | 1 |  | 618.02 | 618.02 | 744.6024 | 744.6024 | 17%
51 | Levelling foot
52 | 5301326 | Levelling foot, M12, with internal adjustment, for VX IT | Ea | 1 |  | 154.76 | 154.76 | 186.4578 | 186.4578 | 17%
* | Professional Services:
1 | SRV | Copper Cable Pulling,Terminiation, Testing & Commissioning. | Lot. | 0 |  |  | 0 | 166320 | 0 | 100%
3 | SRV | Fiber Cable Pulling | Lot. | 0 |  |  | 0 | 22300 | 0 | 100%
4 | SRV | Splicing, Testing & Commissioning. | Lot. | 0 |  |  | 0 | 17280 | 0 | 100%
5 | SRV | Rack Installation | Lot. | 0 |  |  |  | 13500 | 0 | 100%
|  | Total - Passive Simon | TOTAL EXCLUDING VAT |  |  |  | 264252.21 | TOTAL | 337386.8476 | 21.68%
[7 empty] | 616 | 270 | 166320
10

## Data Active (2)
S.# | Item Code | Item Description | UOM | Qty | Unit Cost $ | Unit Cost SAR | Total | Unit Price | Total | % | 3.75 | Siemon | 0.75 | Rittal | 0.83
* | Active Components - :
* | CloudEngine S6730-H48X6C-V2(C13_Britain)_48 port Fiber backbone switch- :
1 | S6730-H48X6C-V2 | S6730-H48X6C-V2(48*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module) | Ea | 1 |  | 10653.02 | 10653.02 | 14204.0267 | 14204.0267 | 25%
2 | PAC600S12-EB | 600W AC Power Module(Back to Front, Power panel side exhaust) | Ea | 2 |  | 482.44 | 964.88 | 643.2533 | 1286.5067 | 25%
3 | L-MLIC-S67H | S67XX-H Series Basic SW,Per Device | Ea | 1 |  | 1499.31 | 1499.31 | 1999.08 | 1999.08 | 25%
4 | QSFP-40G-CU3M | QSFP+,40G,High Speed Direct-attach Cables,3m,QSFP+38M,CC8P0.32B(S),QSFP+38M,Used indoor | Ea | 1 |  | 472.22 | 472.22 | 629.6267 | 629.6267 | 25%
5 | SFP-1000BaseT-G2 | Electrical Transceiver,SFP,GE,Electrical Interface Module(100m,RJ45) | Ea | 6 |  | 244.21 | 1465.26 | 325.6133 | 1953.68 | 25%
6 | 02354HHT_88134UJL-3YL_36 | S6730-H48X6C-V2(48*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module)_Hi-Care Standard S6730-H48X6C_36Month(s) | Ea | 1 |  | 6858.87 | 6858.87 | 9145.16 | 9145.16 | 25%
* | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
7 | S6730-H24X6C-V2 | S6730-H24X6C-V2(24*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module) | Ea | 1 |  | 7496.57 | 7496.57 | 9995.4267 | 9995.4267 | 25%
8 | PAC600S12-EB | 600W AC Power Module(Back to Front, Power panel side exhaust) | Ea | 2 |  | 482.44 | 964.88 | 643.2533 | 1286.5067 | 25%
9 | L-MLIC-S67H | S67XX-H Series Basic SW,Per Device | Ea | 1 |  | 1499.31 | 1499.31 | 1999.08 | 1999.08 | 25%
10 | QSFP-40G-CU3M | QSFP+,40G,High Speed Direct-attach Cables,3m,QSFP+38M,CC8P0.32B(S),QSFP+38M,Used indoor | Ea | 1 |  | 472.22 | 472.22 | 629.6267 | 629.6267 | 25%
11 | SFP-1000BaseT-G2 | Electrical Transceiver,SFP,GE,Electrical Interface Module(100m,RJ45) | Ea | 6 |  | 244.21 | 1465.26 | 325.6133 | 1953.68 | 25%
12 | 02354HHV_88134UJL-3YM_36 | S6730-H24X6C-V2(24*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module)_Hi-Care Standard S6730-H24X6C_36Month(s) | Ea | 1 |  | 4826.61 | 4826.61 | 6435.48 | 6435.48 | 25%
* | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
13 | S5735-S24PN4XE-V2 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module) | Ea | 8 |  | 3239.52 | 25916.16 | 4319.36 | 34554.88 | 25% |  | 0%
14 | L-MLIC-S57S | S57XX-S Series Basic SW,Per Device | Ea | 8 |  | 415.32 | 3322.56 | 553.76 | 4430.08 | 25% |  | 0%
15 | PAC1000S56-EB | 1000W AC&240V DC Power Module(66mm Width Case,Back to Front, Power panel side exhaust) | Ea | 16 |  | 818.68 | 13098.88 | 1091.5733 | 17465.1733 | 25% |  | 0%
16 | SFP+STACK-CU1M5 | SFP+ High speed dedicated stack cable-1.5m | Ea | 8 |  | 201.85 | 1614.8 | 269.1333 | 2153.0667 | 25% |  | 0%
17 | OSX010000 | Optical Transceiver,SFP+,10G,Single-mode Module(1310nm,10km,LC) | Ea | 16 |  | 1133.83 | 18141.28 | 1511.7733 | 24188.3733 | 25%
18 | 98012400_88134UJL-5QL_36 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module)_Hi-Care Standard S5735-S24PN4XE_36Month(s) | Ea | 8 |  | 1947.58 | 15580.64 | 2596.7733 | 20774.1867 | 25%
* | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - : | [5 empty] | 0 | 0 | 0 | #DIV/0!
19 | S5735-S24PN4XE-V2 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module) | Ea | 25 |  | 3239.52 | 80988 | 4319.36 | 107984 | 25%
20 | L-MLIC-S57S | S57XX-S Series Basic SW,Per Device | Ea | 25 |  | 415.32 | 10383 | 553.76 | 13844 | 25%
21 | PAC1000S56-EB | 1000W AC&240V DC Power Module(66mm Width Case,Back to Front, Power panel side exhaust) | Ea | 50 |  | 818.68 | 40934 | 1091.5733 | 54578.6667 | 25%
22 | SFP+STACK-CU1M5 | SFP+ High speed dedicated stack cable-1.5m | Ea | 25 |  | 201.85 | 5046.25 | 269.1333 | 6728.3333 | 25%
23 | OSX010000 | Optical Transceiver,SFP+,10G,Single-mode Module(1310nm,10km,LC) | Ea | 50 |  | 1133.83 | 56691.5 | 1511.7733 | 75588.6667 | 25%
24 | 98012400_88134UJL-5QL_36 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module)_Hi-Care Standard S5735-S24PN4XE_36Month(s) | Ea | 25 |  | 1947.58 | 48689.5 | 2596.7733 | 64919.3333 | 25%
* | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
25 | AC6508 | AC6508 mainframe (10*GE ports, 2*10GE SFP+ ports, with the AC/DC adapter) | Ea | 1 |  | 1972.78 | 1972.78 | 2630.3733 | 2630.3733 | 25% |  | 0%
26 | L-ACSSAP-16AP | Access Controller AP Resource License(16 AP) | Ea | 1 |  | 1712.38 | 1712.38 | 2283.1733 | 2283.1733 | 25% |  | 0%
27 | L-ACSSAP-32AP | Access Controller AP Resource License(32 AP) | Ea | 1 |  | 2998.63 | 2998.63 | 3998.1733 | 3998.1733 | 25% |  | 0%
28 | OMXD30000 | Optical Transceiver,SFP+,10G,Multi-mode Module(850nm,0.3km,LC) | Ea | 4 |  | 421.14 | 1684.56 | 561.52 | 2246.08 | 25% |  | 0%
29 | E5700MK00 | 250mm*180mm*1Uequipment front mounting ear(1set) | Ea | 1 |  | 11.7 | 11.7 | 15.6 | 15.6 | 25% |  | 0%
30 | 02354FRJ-001_88134UJL-3DX_36 | AC6508 mainframe (10*GE ports, 2*10GE SFP+ ports, with the AC/DC adapter)_Hi-Care Standard AC6508_36Month(s) | Ea | 1 |  | 1693.55 | 1693.55 | 2258.0667 | 2258.0667 | 25% |  | 18.18%
31 | 88034UWC_88134UHH-0C4_36 | Access Controller AP Resource License(32 AP)_Hi-Care Application Software Support Service Access Controller AP Resource License(32 AP)_36Month(s) | Ea | 1 |  | 1734.19 | 1734.19 | 2312.2533 | 2312.2533 | 25% |  | 50.77%
32 | 88034UWB_88134UHH-0C3_36 | Access Controller AP Resource License(16 AP)_Hi-Care Application Software Support Service Access Controller AP Resource License(16 AP)_36Month(s) | Ea | 1 |  | 867.1 | 867.1 | 1156.1333 | 1156.1333 | 25% |  | 79.05%
* | AirEngine 5773-21_Wifi 7 Indoor AP
33 | AE5773-21-BUN | AirEngine5773-21-Bundle(Including 12 * AirEngine5773-21) | Ea | 4 |  | 7353.83 | 29415.32 | 9805.1067 | 39220.4267 | 25%
34 | 50086767-001_88134UJL-5PH_36 | AirEngine5773-21(11be indoor,2+2 dual bands,smart antenna,USB,BLE)_Hi-Care Standard AirEngine5773_36Month(s) | Ea | 48 |  | 423.39 | 20322.72 | 564.52 | 27096.96 | 25%
*
| SRV | Configuration Testing & Commissioning. | Lot. | 0 |  |  | 0 | 49000 | 0 | 100%
|  | Total - Active Huawei | TOTAL EXCLUDING VAT |  |  |  | 421457.91 | TOTAL | 561943.88 | 25%

## Data Active Modular
S.# | Item Code | Item Description | UOM | Qty | Unit Cost $ | Unit Cost SAR | Total | Unit Price | Total | % | 3.75 | Siemon | 0.75 | Rittal | 0.83
59 | Active Components - :
60 | CloudEngine S12700E-8(C19_Britain) V200R022_Core Siwitch :
61 | Hardware
62 | ET1BS12708E0 | S12700E-8 Assembly Chassis | Ea | 1 |  | 12969 | 12969 | 17292 | 17292 | 25%
63 | LST7MPUEC000 | S12700E main control unit EC | Ea | 2 |  | 7920 | 15840 | 10560 | 21120 | 25%
64 | LST7SFUEX100 | S12700E switch fabric unit E(X1) | Ea | 2 |  | 10296 | 20592 | 13728 | 27456 | 25%
65 | LST7X24BX6S0 | 24-port 10GE SFP+ interface and 24-port GE SFP interface card (X6S,SFP+) | Ea | 1 |  | 15642 | 15642 | 20856 | 20856 | 25%
66 | LST7X48SX6S0 | 48-Port 10GE SFP+ interface card (X6S,SFP+) | Ea | 1 |  | 17127 | 17127 | 22836 | 22836 | 25%
67 | Power
68 | PAC3KS54-NE | 3000W AC Power Module(Black) | Ea | 2 |  | 1815 | 3630 | 2420 | 4840 | 25% | 189111.2533
69 | Software
70 | L-MLIC-S127E | S12700E Series Basic SW,Per Device | Ea | 1 |  | 7524 | 7524 | 10032 | 10032 | 25%
71 | Optical Transceiver
72 | SFP-1000BaseT-G2 | Electrical Transceiver,SFP,GE,Electrical Interface Module(100m,RJ45) | Ea | 16 |  | 363.83 | 5821.28 | 485.1067 | 7761.7067 | 25%
73 | Installation Material
74 | E0N68RA00 | N68 rail assembly | Ea | 1 |  | 39.93 | 39.93 | 53.24 | 53.24 | 25%
75 | Technical Support Service
76 | 03033BAD-002_88134UFA-4EH_84 | 48-Port 10GE SFP+ interface card (X6S,SFP+)_Hi-Care Basic S12700 48-port 10GE SFP+ interface card (X6S,SFP+)_84Month(s) | Ea | 1 |  | 17743.57 | 17743.57 | 23658.0933 | 23658.0933 | 25%
77 | 03033DAN-002_88134UFA-4EF_84 | 24-port 10GE SFP+ interface and 24-port GE SFP interface card (X6S,SFP+)_Hi-Care Basic S12700 24-port 10GE SFP+ interface and 24-port GE SFP interface card (X6S,SFP+)_84Month(s) | Ea | 1 |  | 16205.11 | 16205.11 | 21606.8133 | 21606.8133 | 25%
78 | 02115870_88134UFA-4E4_84 | S12700E-8 Assembly Chassis_Hi-Care Basic S12700E-8 Chassis_84Month(s) |  | 1 |  | 34188 | 34188 | 45584 | 45584 | 25%
79 | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
80 | S5735-S24PN4XE-V2 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module) | Ea | 8 |  | 3239.52 | 25916.16 | 4319.36 | 34554.88 | 25%
81 | L-MLIC-S57S | S57XX-S Series Basic SW,Per Device | Ea | 8 |  | 415.32 | 3322.56 | 553.76 | 4430.08 | 25%
82 | PAC1000S56-EB | 1000W AC&240V DC Power Module(66mm Width Case,Back to Front, Power panel side exhaust) | Ea | 16 |  | 818.68 | 13098.88 | 1091.5733 | 17465.1733 | 25%
83 | SFP+STACK-CU1M5 | SFP+ High speed dedicated stack cable-1.5m | Ea | 8 |  | 201.85 | 1614.8 | 269.1333 | 2153.0667 | 25%
84 | 98012400_88134UFA-5ST_84 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module)_Hi-Care Basic S5735-S24PN4XE_84Month(s) | Ea | 8 |  | 3931.62 | 31452.96 | 5242.16 | 41937.28 | 25%
85 | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
86 | S5735-S24PN4XE-V2 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module) | Ea | 25 |  | 3239.52 | 80988 | 4319.36 | 107984 | 25%
87 | L-MLIC-S57S | S57XX-S Series Basic SW,Per Device | Ea | 25 |  | 415.32 | 10383 | 553.76 | 13844 | 25%
88 | PAC1000S56-EB | 1000W AC&240V DC Power Module(66mm Width Case,Back to Front, Power panel side exhaust) | Ea | 50 |  | 818.68 | 40934 | 1091.5733 | 54578.6667 | 25%
89 | SFP+STACK-CU1M5 | SFP+ High speed dedicated stack cable-1.5m | Ea | 25 |  | 201.85 | 5046.25 | 269.1333 | 6728.3333 | 25%
90 | 98012400_88134UFA-5ST_84 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module)_Hi-Care Basic S5735-S24PN4XE_84Month(s) | Ea | 25 |  | 3931.62 | 98290.5 | 5242.16 | 131054 | 25%
91 | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
92 | AC6508 | AC6508 mainframe (10*GE ports, 2*10GE SFP+ ports, with the AC/DC adapter) | Ea | 1 |  | 1972.78 | 1972.78 | 2630.3733 | 2630.3733 | 25%
93 | L-ACSSAP-16AP | Access Controller AP Resource License(16 AP) | Ea | 1 |  | 1712.38 | 1712.38 | 2283.1733 | 2283.1733 | 25%
94 | L-ACSSAP-32AP | Access Controller AP Resource License(32 AP) | Ea | 1 |  | 2998.63 | 2998.63 | 3998.1733 | 3998.1733 | 25%
95 | OMXD30000 | Optical Transceiver,SFP+,10G,Multi-mode Module(850nm,0.3km,LC) | Ea | 4 |  | 421.14 | 1684.56 | 561.52 | 2246.08 | 25%
96 | E5700MK00 | 250mm*180mm*1Uequipment front mounting ear(1set) | Ea | 1 |  | 11.7 | 11.7 | 15.6 | 15.6 | 25%
97 | 88034UWB_88134UHH-0C3_84 | Access Controller AP Resource License(16 AP)_Hi-Care Application Software Support Service Access Controller AP Resource License(16 AP)_84Month(s) | Ea | 1 |  | 2069.76 | 2069.76 | 2759.68 | 2759.68 | 25%
98 | 02354FRJ-001_88134UFA-3P3_84 | AC6508 mainframe (10*GE ports, 2*10GE SFP+ ports, with the AC/DC adapter)_Hi-Care Basic AC6508_84Month(s) | Ea | 1 |  | 3522.75 | 3522.75 | 4697 | 4697 | 25%
99 | 88034UWC_88134UHH-0C4_84 | Access Controller AP Resource License(32 AP)_Hi-Care Application Software Support Service Access Controller AP Resource License(32 AP)_84Month(s) | Ea | 1 |  | 4139.52 | 4139.52 | 5519.36 | 5519.36 | 25%
100 | AirEngine 5773-21_Wifi 7 Indoor AP
101 | AE5773-21-BUN | AirEngine5773-21-Bundle(Including 12 * AirEngine5773-21) | Ea | 4 |  | 7353.83 | 29415.32 | 9805.1067 | 39220.4267 | 25%
102 | 02356HEP_88134UFA-5VF_84 | AirEngine5773-21-Bundle(Including 12 * AirEngine5773-21)_Hi-Care Basic 12*AirEngine5773_84Month(s) | Ea | 4 |  | 10256.4 | 41025.6 | 13675.2 | 54700.8 | 25%
103 | Optical Transceiver
104 | OMXD30000 | Optical Transceiver,SFP+,10G,Multi-mode Module(850nm,0.3km,LC) | Ea | 32 |  | 421.14 | 13476.48 | 561.52 | 17968.64 | 25%
105 | OSX010000 | Optical Transceiver,SFP+,10G,Single-mode Module(1310nm,10km,LC) | Ea | 12 |  | 1133.83 | 13605.96 | 1511.7733 | 18141.28 | 25%
103 | SRV
| SRV | Configuration Testing & Commissioning. | Lot. | 0 |  |  | 0 | 49000 | 0 | 100%
|  | Total - Active Huawei | TOTAL EXCLUDING VAT |  |  |  | 594004.44 | TOTAL | 792005.92 | 25%
[6 empty] | SFP Must Be Deleted | 111486.54
[6 empty] | Total Huawei Quote | 705490.98

## Data Active Modular After disco
S.# | Item Code | Item Description | UOM | Qty | Unit Cost $ | Unit Cost SAR | Total | Unit Price | Total | % | 3.75 | Siemon | 0.75 | Rittal | 0.83
59 | Active Components - :
60 | CloudEngine S12700E-8(C19_Britain) V200R022_Core Siwitch :
61 | Hardware
62 | ET1BS12708E0 | S12700E-8 Assembly Chassis | Ea | 1 |  | 9456.56 | 9456.56 | 17292 | 17292 | 45.31%
63 | LST7MPUEC000 | S12700E main control unit EC | Ea | 2 |  | 5775 | 11550 | 10560 | 21120 | 45.31%
64 | LST7SFUEX100 | S12700E switch fabric unit E(X1) | Ea | 2 |  | 7507.5 | 15015 | 13728 | 27456 | 45.31%
65 | LST7X24BX6S0 | 24-port 10GE SFP+ interface and 24-port GE SFP interface card (X6S,SFP+) | Ea | 1 |  | 11405.63 | 11405.63 | 20856 | 20856 | 45.31%
66 | LST7X48SX6S0 | 48-Port 10GE SFP+ interface card (X6S,SFP+) | Ea | 1 |  | 12488.44 | 12488.44 | 22836 | 22836 | 45.31%
67 | Power
68 | PAC3KS54-NE | 3000W AC Power Module(Black) | Ea | 2 |  | 1443.75 | 2887.5 | 2420 | 4840 | 40.34% | 189111.2533
69 | Software
70 | L-MLIC-S127E | S12700E Series Basic SW,Per Device | Ea | 1 |  | 5486.25 | 5486.25 | 10032 | 10032 | 45.31%
71 | Optical Transceiver
72 | SFP-1000BaseT-G2 | Electrical Transceiver,SFP,GE,Electrical Interface Module(100m,RJ45) | Ea | 16 |  | 141.49 | 2263.84 | 485.1067 | 7761.7067 | 70.83%
73 | Installation Material
74 | E0N68RA00 | N68 rail assembly | Ea | 1 |  | 31.76 | 31.76 | 53.24 | 53.24 | 40.35%
75 | Technical Support Service
76 | 03033BAD-002_88134UFA-4EH_84 | 48-Port 10GE SFP+ interface card (X6S,SFP+)_Hi-Care Basic S12700 48-port 10GE SFP+ interface card (X6S,SFP+)_84Month(s) | Ea | 1 |  | 5449.81 | 5449.81 | 23658.0933 | 23658.0933 | 76.96%
77 | 03033DAN-002_88134UFA-4EF_84 | 24-port 10GE SFP+ interface and 24-port GE SFP interface card (X6S,SFP+)_Hi-Care Basic S12700 24-port 10GE SFP+ interface and 24-port GE SFP interface card (X6S,SFP+)_84Month(s) | Ea | 1 |  | 4977.28 | 4977.28 | 21606.8133 | 21606.8133 | 76.96%
78 | 02115870_88134UFA-4E4_84 | S12700E-8 Assembly Chassis_Hi-Care Basic S12700E-8 Chassis_84Month(s) |  | 1 |  | 10500.6 | 10500.6 | 45584 | 45584 | 76.96%
79 | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
80 | S5735-S24PN4XE-V2 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module) | Ea | 8 |  | 2815.31 | 22522.48 | 4319.36 | 34554.88 | 34.82%
81 | L-MLIC-S57S | S57XX-S Series Basic SW,Per Device | Ea | 8 |  | 360.94 | 2887.52 | 553.76 | 4430.08 | 34.82%
82 | PAC1000S56-EB | 1000W AC&240V DC Power Module(66mm Width Case,Back to Front, Power panel side exhaust) | Ea | 16 |  | 646.8 | 10348.8 | 1091.5733 | 17465.1733 | 40.75%
83 | SFP+STACK-CU1M5 | SFP+ High speed dedicated stack cable-1.5m | Ea | 8 |  | 116.94 | 935.52 | 269.1333 | 2153.0667 | 56.55%
84 | 98012400_88134UFA-5ST_84 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module)_Hi-Care Basic S5735-S24PN4XE_84Month(s) | Ea | 8 |  | 1207.57 | 9660.56 | 5242.16 | 41937.28 | 76.96%
85 | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
86 | S5735-S24PN4XE-V2 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module) | Ea | 25 |  | 2815.31 | 70382.75 | 4319.36 | 107984 | 34.82%
87 | L-MLIC-S57S | S57XX-S Series Basic SW,Per Device | Ea | 25 |  | 360.94 | 9023.5 | 553.76 | 13844 | 34.82%
88 | PAC1000S56-EB | 1000W AC&240V DC Power Module(66mm Width Case,Back to Front, Power panel side exhaust) | Ea | 50 |  | 646.8 | 32340 | 1091.5733 | 54578.6667 | 40.75%
89 | SFP+STACK-CU1M5 | SFP+ High speed dedicated stack cable-1.5m | Ea | 25 |  | 116.94 | 2923.5 | 269.1333 | 6728.3333 | 56.55%
90 | 98012400_88134UFA-5ST_84 | S5735-S24PN4XE-V2 (24*10/100/1000/2.5GBASE-T ports(PoE+), 4*10GE SFP+ ports, 2*12GE stack ports, without power module)_Hi-Care Basic S5735-S24PN4XE_84Month(s) | Ea | 25 |  | 1207.57 | 30189.25 | 5242.16 | 131054 | 76.96%
91 | CloudEngine S6730-H24X6C-V2(C13_Britain)_12 port Fiber backbone switch - :
92 | AC6508 | AC6508 mainframe (10*GE ports, 2*10GE SFP+ ports, with the AC/DC adapter) | Ea | 1 |  | 1804.69 | 1804.69 | 2630.3733 | 2630.3733 | 31.39%
93 | L-ACSSAP-16AP | Access Controller AP Resource License(16 AP) | Ea | 1 |  | 1566.47 | 1566.47 | 2283.1733 | 2283.1733 | 31.39%
94 | L-ACSSAP-32AP | Access Controller AP Resource License(32 AP) | Ea | 1 |  | 2743.13 | 2743.13 | 3998.1733 | 3998.1733 | 31.39%
95 | OMXD30000 | Optical Transceiver,SFP+,10G,Multi-mode Module(850nm,0.3km,LC) | Ea | 4 |  | 243.99 | 975.96 | 561.52 | 2246.08 | 56.55%
96 | E5700MK00 | 250mm*180mm*1Uequipment front mounting ear(1set) | Ea | 1 |  | 9.24 | 9.24 | 15.6 | 15.6 | 40.77%
97 | 88034UWB_88134UHH-0C3_84 | Access Controller AP Resource License(16 AP)_Hi-Care Application Software Support Service Access Controller AP Resource License(16 AP)_84Month(s) | Ea | 1 |  | 635.71 | 635.71 | 2759.68 | 2759.68 | 76.96%
98 | 02354FRJ-001_88134UFA-3P3_84 | AC6508 mainframe (10*GE ports, 2*10GE SFP+ ports, with the AC/DC adapter)_Hi-Care Basic AC6508_84Month(s) | Ea | 1 |  | 1081.99 | 1081.99 | 4697 | 4697 | 76.96%
99 | 88034UWC_88134UHH-0C4_84 | Access Controller AP Resource License(32 AP)_Hi-Care Application Software Support Service Access Controller AP Resource License(32 AP)_84Month(s) | Ea | 1 |  | 1271.42 | 1271.42 | 5519.36 | 5519.36 | 76.96%
100 | AirEngine 5773-21_Wifi 7 Indoor AP
101 | AE5773-21-BUN | AirEngine5773-21-Bundle(Including 12 * AirEngine5773-21) | Ea | 4 |  | 7666.31 | 30665.24 | 9805.1067 | 39220.4267 | 21.81%
102 | 02356HEP_88134UFA-5VF_84 | AirEngine5773-21-Bundle(Including 12 * AirEngine5773-21)_Hi-Care Basic 12*AirEngine5773_84Month(s) | Ea | 4 |  | 3150.18 | 12600.72 | 13675.2 | 54700.8 | 76.96%
103 | Optical Transceiver
104 | OMXD30000 | Optical Transceiver,SFP+,10G,Multi-mode Module(850nm,0.3km,LC) | Ea | 32 |  | 243.99 | 7807.68 | 561.52 | 17968.64 | 56.55%
105 | OSX010000 | Optical Transceiver,SFP+,10G,Single-mode Module(1310nm,10km,LC) | Ea | 12 |  | 656.91 | 7882.92 | 1511.7733 | 18141.28 | 56.55%
|  | Total - Active Huawei | TOTAL EXCLUDING VAT |  |  |  | 351771.72 | TOTAL | 792005.92 | 55.58%

## IP TEL-NO RED (hidden)
S.# | Item Code | Item Description | UOM | Qty | Unit Cost | Total | Unit Price | Total | %
IP OFFICE SERVER EDITION
1 | 182448 | IP OFFICE SERVER EDITION MODEL | Ea | 1 | 0 | 0 | 0 | 0 | 0% | 0
2 | 700515009 | ASP 110 DELL R240 SERVER IPO UC | Ea | 1 | 8556.09 | 8556.09 | 10695.1125 | 10695.1125 | 20% | 10696
3 | 396449 | IP OFFICE R11 SERVER EDITION LIC:DS | Ea | 1 | 4805.28 | 4805.28 | 6006.6 | 6006.6 | 20% | 6007 | VM | 4
4 | 383110 | IP OFFICE R10+ AVAYA IP ENDPOINT 1 LIC:CU | Ea | 84 | 112.8 | 9475.2 | 141 | 11844 | 20% | 141 | PC | 1
5 | 383085 | IP OFFICE R10+ SIP TRUNK 1 LIC:CU | Ea | 10 | 115.81 | 1158.1 | 144.7625 | 1447.625 | 20% | 145 | USERS | 2000
6 | 382687 | IP OFFICE R10+ RECEPTIONIST 1 LIC:CU | Ea | 1 | 930.98 | 930.98 | 1163.725 | 1163.725 | 20% | 1164
|  | WORKSTATION FOR RECEPTIONIST | [7 empty] | 0
7 | WS | Workstation for Receptionist | Ea | 1 | 7000 | 7000 | 8750 | 8750 | 20% | 8750
7 |  | MAINTENANCE COMPREHENSIVE SUPPORT MODEL |  |  |  | 0 | 0 | 0 |  | 0
8 | 271631 | IPO REM TECH SUPT 8X5 - HP DL120G7 1YPP | Ea | 1 | 1808.77 | 1808.77 | 2260.9625 | 2260.9625 | 20% | 2261
|  | IP PHONE OPTIONS | [7 empty] | 0
9 | 700512394 | J159 IP PHONE | Ea | 1 | 502.8 | 0 | 628.5 | 0 | 20% | 629
10 | 700512396 | J189 IP PHONE | Ea | 1 | 726.93 | 0 | 908.6625 | 0 | 20% | 909
11 | 700512398 | AVAYA VANTAGE CORDLESS HANDSET WIDEBAND WITH CHARGING CRADLE KIT | Ea | 1 | 209.6 | 0 | 262 | 0 | 20% | 262
12 | 700513569 | J179 IP PHONE GLOBAL NO POWER SUPPLY | Ea | 1 | 605.78 | 0 | 757.225 | 0 | 20% | 758
13 | 700513916 | J139 IP PHONE | Ea | 1 | 315 | 0 | 393.75 | 0 | 20% | 394
14 | 700514685 | AVAYA VANTAGE K175 WITH CAMERA WITH WIRELESS | Ea | 1 | 2002.66 | 0 | 2503.325 | 0 | 20% | 2504
15 | 700514687 | AVAYA VANTAGE K155 WITH CAMERA WITH WIRELESS | Ea | 1 | 1467.9 | 0 | 1834.875 | 0 | 20% | 1835
16 | 700515454 | AVAYA VANTAGE 3 CORDED HANDSET KIT | Ea | 1 | 152.41 | 0 | 190.5125 | 0 | 20% | 191
|  | Professional Services | [7 empty] | 0
17 | SRV | Programming, Testing, and Labelling | Lot | 1 | 8000 | 8000 | 10000 | 10000 | 20% | 10000
|  |  | TOTAL EXCLUDING VAT |  |  | 41734.42 | TOTAL | 52168.025 | 20%

## IP TEL (hidden)
S.# | Item Code | Item Description | UOM | Qty | Unit Cost | Total | Unit Price | Total | %
AVAYA - IP PABX
1 | 182448 | IP OFFICE SERVER EDITION MODEL | Ea | 1 | 0 | 0 | 0 | 0 | 0%
2 | 700515009 | ASP 110 DELL R240 SERVER IPO UC | Ea | 2 | 8556.09 | 17112.18 | 10695.1125 | 21390.225 | 20%
3 | 700517268 | ASBCE CORE DELL 1425 COMPACT IPO | Ea | 1 | 3509.33 | 3509.33 | 4386.6625 | 4386.6625 | 20%
4 | 407786599 | POWER CORD UNITED KINGDOM | Ea | 1 | 26.9 | 26.9 | 33.625 | 33.625 | 20%
5 | 413371 | ASBCE R10 STANDARD SERVICES SESSION IPO LIC:CU | Ea | 10 | 52.85 | 528.5 | 66.0625 | 660.625 | 20% | VM | 4
6 | 413392 | ASBCE R10 ENCRYPTION FOR IPO LIC:DS | Ea | 1 | 0 | 0 | 0 | 0 | 0% | PC | 1
7 | 396449 | IP OFFICE R11 SERVER EDITION LIC:DS | Ea | 2 | 4805.28 | 9610.56 | 6006.6 | 12013.2 | 20% | USERS | 2000
8 | 383110 | IP OFFICE R10+ AVAYA IP ENDPOINT 1 LIC:CU | Ea | 84 | 112.8 | 9475.2 | 141 | 11844 | 20%
9 | 383085 | IP OFFICE R10+ SIP TRUNK 1 LIC:CU | Ea | 10 | 115.81 | 1158.1 | 144.7625 | 1447.625 | 20%
10 | 382687 | IP OFFICE R10+ RECEPTIONIST 1 LIC:CU | Ea | 1 | 930.98 | 930.98 | 1163.725 | 1163.725 | 20%
WORKSTATION FOR RECEPTIONIST
11 | WS | Workstation for Receptionist | Ea | 1 | 7000 | 7000 | 8750 | 8750 | 20%
|  | MAINTENANCE COMPREHENSIVE SUPPORT MODEL |  |  |  | 0 | 0 | 0
12 | 271631 | IPO REM TECH SUPT 8X5 - HP DL120G7 1YPP | Ea | 2 | 1808.77 | 3617.54 | 2260.9625 | 4521.925 | 20%
13 | 349162 | IPO REM TECH SUPT 8X5 - ASBCE PORTWELL CAT8 1YPP | Ea | 1 | 1560.43 | 1560.43 | 1950.5375 | 1950.5375 | 20%
IP PHONE OPTIONS
14 | 700512394 | J159 IP PHONE | Ea | 1 | 502.8 | 502.8 | 628.5 | 628.5 | 20%
15 | 700512396 | J189 IP PHONE | Ea | 1 | 726.93 | 726.93 | 908.6625 | 908.6625 | 20%
16 | 700512398 | AVAYA VANTAGE CORDLESS HANDSET WIDEBAND WITH CHARGING CRADLE KIT | Ea | 1 | 209.6 | 209.6 | 262 | 262 | 20%
17 | 700513569 | J179 IP PHONE GLOBAL NO POWER SUPPLY | Ea | 1 | 605.78 | 605.78 | 757.225 | 757.225 | 20%
18 | 700513916 | J139 IP PHONE | Ea | 1 | 315 | 315 | 393.75 | 393.75 | 20%
19 | 700514685 | AVAYA VANTAGE K175 WITH CAMERA WITH WIRELESS | Ea | 1 | 2002.66 | 2002.66 | 2503.325 | 2503.325 | 20%
20 | 700514687 | AVAYA VANTAGE K155 WITH CAMERA WITH WIRELESS | Ea | 1 | 1467.9 | 1467.9 | 1834.875 | 1834.875 | 20%
21 | 700515454 | AVAYA VANTAGE 3 CORDED HANDSET KIT | Ea | 1 | 152.41 | 152.41 | 190.5125 | 190.5125 | 20%
Professional Services
22 | SRV | Programming, Testing, and Labelling | Lot | 1 | 10000 | 10000 | 12500 | 12500 | 20%
|  |  | TOTAL EXCLUDING VAT |  |  | 70512.8 | TOTAL | 88141 | 20%