## Summary
SYS | Martrial Cost | Material Price | Margin | SRV | Cost | Price | Margin
Data | 811867.5395 | 1082927.3075 | 25.03% | DATA Termination Testing & Commissioning. | 112775 | 140968.75 | 20%
PA | 65434.37 | 87245.8267 | 25% | DATA Splicing,Testing & Commissioning. | 8320 | 10400 | 20%
IP-CCTV | 83522.58 | 110048.9302 | 24.1% | DATA Rack Installation. | 12000 | 15000 | 20%
|  |  |  | DATA Configuration, Testing & Commissioning. | 58800 | 73500 | 20%
Total Matrial | 960824.4895 | 1280222.0644 | 24.95% | PA Installation | 7900 | 9875 | 20%
Total SRV | 243795 | 304493.75 | 19.93% | PA Programming, Testing & Commissioning. | 6600 | 8000 | 17.5%
G.Total | 1204619.4895 | 1584715.8144 | 23.99% | IP-CCTV Installation. | 26180 | 32725 | 20%
Discount | 0 |  |  | IP-CCTV Programming, Testing & Commissioning. | 11220 | 14025 | 20%
|  |  |  | Total SRV | 243795 | 304493.75 | 19.93%
Total After Discount | 1204619.4895 | 1584715.8144 | 23.99%

## Data
S.# | Item Code | Item Description | UOM | Qty | Unit Cost Before Dis | Total | Unit Cost SAR After Dis | % | Total | Unit Price | Total | % | 3.75 | Datwyler | 0.68 | H3C | 0.75
* | Copper Solution - : |  | 1735
1 | 19145400DL | Cat 6A Data Cable F/FTP 4 Pairs,500MHz, FRNC/LS0H Sheath, Orange Color (500 Meter/Roll) -Datwyler. | Ea | 246 | 1100 | 270600 | 950 | 13.64% | 233700 | 1117.6471 | 274941.1765 | 15%
2 | 418019 | 24 Ports Cat 6A Patch Panel 19" 1U,Shielded, Empty, Black Color -Datwyler. | Ea | 89 | 110 | 9790 | 95 | 13.64% | 8455 | 139.7059 | 12433.8235 | 32%
3 | 4000699 | 1U Cable Mangment 19" with Cover -Datwyler. | Ea | 89 | 40 | 3560 | 34 | 15% | 3026 | 50 | 4450 | 32%
4 | 418069 | Cat 6A RJ45-Module Shielded, KS-Keystone Plus(IEC) TIA-B - Datwyler. | Ea | 2136 | 18.5 | 39516 | 16 | 13.51% | 34176 | 23.5294 | 50258.8235 | 32%
5 | 418069 | Cat 6A RJ45-Module Shielded, KS-Keystone Plus(IEC) TIA-B - Datwyler. | Ea | 1379 | 18.5 | 25511.5 | 16 | 13.51% | 22064 | 23.5294 | 32447.0588 | 32%
6 |  | RJ 45 FOR CAT6A | Ea | 500 | 2 | 1000 | 2 | 0% | 1000 | 2.9412 | 1470.5882 | 32%
7 | 653508 | Cat 6A Patch Cord Shielded, FRNC/LS0H Sheath ,Grey Color, 1 Meter -Datwyler. | Ea | 2136 | 21 | 44856 | 19 | 9.524% | 40584 | 27.9412 | 59682.3529 | 32%
8 | 653512 | Cat 6A Patch Cord Shielded, FRNC/LS0H Sheath , Grey Color,3Meter -Datwyler. | Ea | 1379 | 28 | 38612 | 25 | 10.71% | 34475 | 36.7647 | 50698.5294 | 32%
* | Fiber Solution - :
9 | 18595900DZ | 8C Fibre Optic Cable MM(OM3-50/125µm), Loose Tube, Glass Armoured, Indoor/Outdoor LS0H Sheath -Datwyler. | Ea | 1000 | 7 | 7000 | 6.5 | 7.143% | 6500 | 7.6471 | 7647.0588 | 15%
10 | 41522400ZY | Fibre Patch Panel 1U 12 SC (6 SCD) Multi Mode, full Loaded with Adapters, Ceramic Sleeve and 12 Pigtails MM OM3 2meter -Datwyler. | Ea | 8 | 450 | 3600 | 400 | 11.11% | 3200 | 588.2353 | 4705.8824 | 32%
11 | 41523200ZY | Fibre Patch Panel 1U 48 SC (24 SCD) Multi Mode, full Loaded with Adapters, Ceramic Sleeve and 48 Pigtails MM OM3 2meter -Datwyler. | Ea | 2 | 1150 | 2300 | 1000 | 13.04% | 2000 | 1470.5882 | 2941.1765 | 32%
12 | 421333 | Fibre Optic Patch Cord MM 50/125 OM3 SC-LC Duplex 3Meter -Datwyler. | Ea | 60 | 60 | 3600 | 57 | 5% | 3420 | 83.8235 | 5029.4118 | 32%
* | UPS- :
13 | 40014800ZY | 6 kVA Online UPS, Tower or/2U Rack Mounted (Additional Accessories), Rotable LCD screen, I/O Single Phase 230V, W/O Batteries(2 Years Warranty) | Ea | 10 | 5000 | 50000 | 4300 | 14% | 43000 | 6323.5294 | 63235.2941 | 32%
14 | 40015300ZY | 6kVA Battery Back Module, Tower or/2U Rack Mounted (Additional Accessories)with Built in 20 X12V/9AH batteries (5 Minutes), (1 Year Warranty) | Ea | 20 | 3300 | 66000 | 3000 | 9.091% | 60000 | 4411.7647 | 88235.2941 | 32%
15 | 40015600ZY | Rail Kit for 6 & 10 kVA UPS. | Ea | 30 | 125 | 3750 | 110 | 12% | 3300 | 161.7647 | 4852.9412 | 32%
* | Cabinet- :
16 | GS.8042.9801 | 42U GS NETWORKING CABINET 800W X 1000D | Ea | 10 | 2000 | 20000 | 1800 | 10% | 18000 | 2647.0588 | 26470.5882 | 32%
17 | CT-01001 | PDU 6 WAY (UK TYPE) 13A 19" WITH 2-METER X 1.5MM CABLE & UK PLUG | Ea | 20 | 50 | 1000 | 50 | 0% | 1000 | 73.5294 | 1470.5882 | 32%
* | S6520X-HI_GL Switch #1- :
18 | LS-6520X-54QC-HI-GL | H3C S6520X-54QC-HI L3 Ethernet Switch(48SFP Plus+2QSFP Plus+2Slot),Without Power Supplies | Ea | 2 | 10076.4366 | 20152.8731 | 10076.4366 | 0% | 20152.8731 | 13435.2487 | 26870.4975 | 25%
19 | LSWM1QSTK1 | 40G QSFP+ Cable 3m | Ea | 2 | 302.9316 | 605.8631 | 302.9316 | 0% | 605.8631 | 403.9088 | 807.8175 | 25%
20 | PSR250-12A1-GL | 250W AC Power Supply Module (Power Panel Side Exhaust Airflow) | Ea | 4 | 422.6099 | 1690.4396 | 422.6099 | 0% | 1690.4396 | 563.4799 | 2253.9195 | 25%
21 | LSWM1FANSCBE | Fan Module (Fan Panel Side Exhaust Airflow) | Ea | 4 | 296.3658 | 1185.4631 | 296.3658 | 0% | 1185.4631 | 395.1544 | 1580.6175 | 25%
* | S5170-EI Switch #1
22 | LS-5170-54S-PWR-EI-GL | H3C S5170-54S-PWR-EI L2 Ethernet Switch with 48*10/100/1000BASE-T Ports and 6*1G/10G BASE-X SFP Plus Ports,(AC),PoE+ | Ea | 42 | 3694.95 | 155187.9 | 3694.95 | 0% | 155187.9 | 4926.6 | 206917.2 | 25%
23 | Stack Cable | Stack Cable | Ea | 42 | 500 | 21000 | 500 | 0% | 21000 | 666.6667 | 28000 | 25%
* | S5170-EI Switch #1
24 | LS-5170-28S-HPWR-EI-GL | H3C S5170-28S-HPWR-EI L2 Ethernet Switch with 24*10/100/1000BASE-T Ports and 4*1G/10G BASE-X SFP Plus Ports,(AC),PoE+ | Ea | 5 | 2309.34 | 11546.7 | 2309.34 | 0% | 11546.7 | 3079.12 | 15395.6 | 25%
25 | Stack Cable | Stack Cable | Ea | 5 | 500 | 2500 | 500 | 0% | 2500 | 666.6667 | 3333.3333 | 25%
* | H3C WirelessACV7FitGL
26 | EWP-WX2880X | H3C WX2880X Access Controller with 10*1000BASE-T Ports and 2*SFP Plus Ports | Ea | 2 | 3540.9937 | 7081.9875 | 3540.9937 | 0% | 7081.9875 | 4721.325 | 9442.65 | 25%
27 | SFP-XG-SX-MM850-A | SFP+ Module(850nm,300m,LC) | Ea | 4 | 219.6141 | 878.4562 | 219.6141 | 0% | 878.4562 | 292.8187 | 1171.275 | 25%
28 | LIS-WX-16-BE | Enhanced Access Controller License,16 APs,for Verticals,for V7V9 | Ea | 0 | 1408.6997 | 0 | 1408.6997 | 0% | 0 | 1878.2662 | 0 | 25%
29 | LIS-WX-64-BE | Enhanced Access Controller License,64 APs,for Verticals,for V7V9 | Ea | 2 | 4557.105 | 9114.21 | 4557.105 | 0% | 9114.21 | 6076.14 | 12152.28 | 25%
30 | EWP-WA6520-FIT | H3C WA6520 Internal Antennas 4 Streams Dual Radio 802.11ax/ac/n Access Point,FIT | Ea | 77 | 550.3936 | 42380.3067 | 550.3936 | 0% | 42380.3067 | 733.8581 | 56507.0756 | 25%
* | SFP
31 | SFP-XG-SX-MM850-A | SFP+ Module(850nm,300m,LC) | Ea | 94 | 219.61 | 20643.34 | 219.61 | 0% | 20643.34 | 292.8133 | 27524.4533 | 25%
* | Professional Services:
32 | SRV | Termination Testing & Commissioning. | Lot. | 0 |  |  | 112775 |  | 0 | 140968.75 | 0 | 20%
34 | SRV | Splicing,Testing & Commissioning. | Lot. | 0 |  |  | 8320 |  | 0 | 10400 | 0 | 20%
35 | SRV | Rack Installation. | Lot. | 0 |  |  | 12000 |  | 0 | 15000 | 0 | 20%
36 | SRV | Configuration, Testing & Commissioning. | Lot. | 0 |  |  | 58800 |  | 0 | 73500 | 0 | 20%
|  | Total - DATA | TOTAL EXCLUDING VAT |  |  | 884663.0395 |  |  | 811867.5395 | TOTAL | 1082927.3075 | 25.03%
8.229%
81.25
[6 empty] | Matrial Cost | 811867.5395
[6 empty] | Matrial Selling Price | 1082927.3075

## PA(Sound SYS)
S.# | Item Code | Item Description | UOM | Qty | Unit Cost Before Dis | Total | Unit Cost SAR | % | Total | Unit Price | Total | % | 3.75 | 0.75
* | BOYS - :
1 | NOVA-500 | MASTER AMPLIFIER 500W 6 ZONES | Ea | 1 |  | 0 | 7044.81 | #DIV/0! | 7044.81 | 9393.08 | 9393.08 | 25%
2 | NOVA-12RM | 12 ZONES REMOTE MICROPHONE | Ea | 1 |  | 0 | 2030.55 | #DIV/0! | 2030.55 | 2707.4 | 2707.4 | 25%
3 | CP40-MP3BT | SOUND SOURCE MOD. CD/MP3 TUNER BT USB 1u | Ea | 1 |  | 0 | 1939.86 | #DIV/0! | 1939.86 | 2586.48 | 2586.48 | 25%
4 | A-252BTM | 6W/100V 2,5" METAL CEILING SPEAKER | Ea | 53 |  | 0 | 85.24 | #DIV/0! | 4517.72 | 113.6533 | 6023.6267 | 25%
5 | PM-2EU | Mixer preamplifier module with mic input & stereo aux input. Flush mount. Universal | Ea | 2 |  | 0 | 633.47 | #DIV/0! | 1266.94 | 844.6267 | 1689.2533 | 25%
6 | DM-10DS | Hand held unidirectional cardioid microphone. XLR connector. 250 ohm, balanced | Ea | 2 |  | 0 | 337.62 | #DIV/0! | 675.24 | 450.16 | 900.32 | 25%
7 | Z-45 | 2u MAIN SWITCH MODULE | Ea | 1 |  | 0 | 205.53 | #DIV/0! | 205.53 | 274.04 | 274.04 | 25%
8 | Z-76M | INT.AUT. 2POLS D10 6KA. EATON-PLS6D10/2 | Ea | 1 |  | 0 | 318.05 | #DIV/0! | 318.05 | 424.0667 | 424.0667 | 25%
* | GIRLS- :
9 | NOVA-500 | MASTER AMPLIFIER 500W 6 ZONES | Ea | 1 |  | 0 | 7044.81 | #DIV/0! | 7044.81 | 9393.08 | 9393.08 | 25%
10 | NOVA-500S | SALVE AMPLIFIER 500W 6 ZONES | Ea | 1 |  | 0 | 5990.02 | #DIV/0! | 5990.02 | 7986.6933 | 7986.6933 | 25%
11 | NOVA-12RM | 12 ZONES REMOTE MICROPHONE | Ea | 1 |  | 0 | 2030.55 | #DIV/0! | 2030.55 | 2707.4 | 2707.4 | 25%
12 | CP40-MP3BT | SOUND SOURCE MOD. CD/MP3 TUNER BT USB 1u | Ea | 1 |  | 0 | 1939.86 | #DIV/0! | 1939.86 | 2586.48 | 2586.48 | 25%
13 | A-252BTM | 6W/100V 2,5" METAL CEILING SPEAKER | Ea | 91 |  | 0 | 85.24 | #DIV/0! | 7756.84 | 113.6533 | 10342.4533 | 25%
14 | BS-6WA | 6W 100V WHITE OPTIMUS BAFFLE | Ea | 8 |  | 0 | 157.85 | #DIV/0! | 1262.8 | 210.4667 | 1683.7333 | 25%
15 | PM-2EU | Mixer preamplifier module with mic input & stereo aux input. Flush mount. Universal | Ea | 2 |  | 0 | 633.47 | #DIV/0! | 1266.94 | 844.6267 | 1689.2533 | 25%
16 | DM-10DS | Hand held unidirectional cardioid microphone. XLR connector. 250 ohm, balanced | Ea | 2 |  | 0 | 337.62 | #DIV/0! | 675.24 | 450.16 | 900.32 | 25%
17 | Z-45 | 2u MAIN SWITCH MODULE | Ea | 1 |  | 0 | 205.53 | #DIV/0! | 205.53 | 274.04 | 274.04 | 25%
18 | Z-76M | INT.AUT. 2POLS D10 6KA. EATON-PLS6D10/2 | Ea | 1 |  | 0 | 318.05 | #DIV/0! | 318.05 | 424.0667 | 424.0667 | 25%
* | Theater - :
19 | MXD-88 | Multichannel audio matrix with 8 inputs and 8 outputs, DSP and control via app | Ea | 1 |  | 0 | 4584.55 | #DIV/0! | 4584.55 | 6112.7333 | 6112.7333 | 25%
20 | CP40-MP3BT | SOUND SOURCE MOD. CD/MP3 TUNER BT USB 1u | Ea | 1 |  | 0 | 1939.86 | #DIV/0! | 1939.86 | 2586.48 | 2586.48 | 25%
21 | DA-240M4 | CLASS D 100V 4x240W POWER UNIT | Ea | 1 |  | 0 | 4241.5 | #DIV/0! | 4241.5 | 5655.3333 | 5655.3333 | 25%
22 | C-660A | Acoustic column 12 x 2,5'', 60 W RMS (60 & 30 W), 100 V | Ea | 6 |  | 0 | 883.96 | #DIV/0! | 5303.76 | 1178.6133 | 7071.68 | 25%
23 | ME-F40A | Pencil-style gooseneck microphone, cardioid, with XLR connector. 200 ohm. Phantom | Ea | 1 |  | 0 | 189.42 | #DIV/0! | 189.42 | 252.56 | 252.56 | 25%
24 | MI-RD2CU16 | 2 CHANNEL UHF DIVERSITY RECEIVER | Ea | 1 |  | 0 | 1134.12 | #DIV/0! | 1134.12 | 1512.16 | 1512.16 | 25%
25 | MI-MMU16 | HANDHELD UHF MICROPHONE | Ea | 2 |  | 0 | 775.91 | #DIV/0! | 1551.82 | 1034.5467 | 2069.0933 | 25%
* | Professional Services:
| SRV | Installation | Lot. | 1 |  |  | 7900 |  | 7900 | 9875 | 9875 | 20%
| SRV | Programming, Testing & Commissioning. | Lot. | 1 |  |  | 6600 |  | 6600 | 8000 | 8000 | 17.5%
|  | Total - DATA | TOTAL EXCLUDING VAT |  |  | 0 |  |  | 79934.37 | TOTAL | 105120.8267 | 23.96%
#DIV/0!
|  |  | Matrial Cost | 65434.37
|  |  | Matrial Selling Price | 87245.8267

## IP-CCTV
S.# | Item Code | Item Description | UOM | Qty | Unit Cost Before Dis | Total | Unit Cost SAR | % | Total | Unit Price | Total | % | 3.75 | 0.75
* | BOYS School - : | BOYS School - :
1 | IPC325LB-SF28-A | UNV 5MP (2.8mm) IR Fixed Dome IP Camera | Ea | 164 |  | 0 | 132.99 | #DIV/0! | 21810.36 | 177.32 | 29080.48 | 25%
2 | IPC2125LB-SF40-A | UNV 5MP (4.0mm) IR Fixed Bullet IP Camera | Ea | 40 |  | 0 | 132.99 | #DIV/0! | 5319.6 | 177.32 | 7092.8 | 25%
3 | NVR508-128E-R | 8 Hard Disks 128-Channel Network Video Recorder | Ea | 2 |  | 0 | 2302.08 | #DIV/0! | 4604.16 | 3069.44 | 6138.88 | 25%
4 | WD85PURU-64C2EY0 | WD HDD 8T | Ea | 14 |  | 0 | 630 | #DIV/0! | 8820 | 840 | 11760 | 25%
5 | Dell OptiPlex Tower (Plus 7010) | Dell OptiPlex Tower (Plus 7010) 13th Gen Intel Core i7-13700 (8+8 Cores/30MB/24T/2.1GHz to 5.1GHz/65W) , M.2 2230 512GB PCIe NVMe Class 35 Solid State Drive ,, 16GB (2X8GB) DDR5 Non-ECC Memory , ,8x DVD+/-RW 9.5mm Optical Disk Drive , Intel Integrated Graphics , Dell Optical Mouse - MS116 - Black , Dell Wired Keyboard-KB216 - Arabic (QWERTY) - Black , Ubuntu Linux 18.04 , 3Y Basic Support and Next Business Day Onsite Service | Ea | 1 |  | 0 | 2350 | #DIV/0! | 2350 | 2764.7059 | 2764.7059 | 15%
6 | Nvidia Quadro T1000 8GB | Nvidia Quadro T1000 8GB | Ea | 1 |  | 0 | 1350 | #DIV/0! | 1350 | 1588.2353 | 1588.2353 | 15%
7 | Dell 24 Monitor | Dell 24 Monitor ¦ P2419H - 68.6cm(24") Black | Ea | 1 |  | 0 | 490 | #DIV/0! | 490 | 576.4706 | 576.4706 | 15%
* | GIRLS- : | GIRLS- :
8 | IPC325LB-SF28-A | UNV 5MP (2.8mm) IR Fixed Dome IP Camera | Ea | 137 |  | 0 | 132.99 | #DIV/0! | 18219.63 | 177.32 | 24292.84 | 25%
9 | IPC2125LB-SF40-A | UNV 5MP (4.0mm) IR Fixed Bullet IP Camera | Ea | 33 |  | 0 | 132.99 | #DIV/0! | 4388.67 | 177.32 | 5851.56 | 25%
10 | NVR508-128E-R | 8 Hard Disks 128-Channel Network Video Recorder | Ea | 2 |  | 0 | 2302.08 | #DIV/0! | 4604.16 | 3069.44 | 6138.88 | 25%
11 | HDD 8T | WD HDD 8T | Ea | 16 |  | 0 | 461 | #DIV/0! | 7376 | 614.6667 | 9834.6667 | 25%
12 | Dell OptiPlex Tower (Plus 7010) | Dell OptiPlex Tower (Plus 7010) 13th Gen Intel Core i7-13700 (8+8 Cores/30MB/24T/2.1GHz to 5.1GHz/65W) , M.2 2230 512GB PCIe NVMe Class 35 Solid State Drive ,, 16GB (2X8GB) DDR5 Non-ECC Memory , ,8x DVD+/-RW 9.5mm Optical Disk Drive , Intel Integrated Graphics , Dell Optical Mouse - MS116 - Black , Dell Wired Keyboard-KB216 - Arabic (QWERTY) - Black , Ubuntu Linux 18.04 , 3Y Basic Support and Next Business Day Onsite Service | Ea | 1 |  | 0 | 2350 | #DIV/0! | 2350 | 2764.7059 | 2764.7059 | 15%
13 | Nvidia Quadro T1000 8GB | Nvidia Quadro T1000 8GB | Ea | 1 |  | 0 | 1350 | #DIV/0! | 1350 | 1588.2353 | 1588.2353 | 15%
14 | Dell 24 Monitor | Dell 24 Monitor ¦ P2419H - 68.6cm(24") Black | Ea | 1 |  | 0 | 490 | #DIV/0! | 490 | 576.4706 | 576.4706 | 15%
* | Professional Services:
15 | SRV | Installation. | Lot. | 1 |  |  | 26180 |  | 26180 | 32725 | 32725 | 20%
16 | SRV | Programming, Testing & Commissioning. | Lot. | 1 |  |  | 11220 |  | 11220 | 14025 | 14025 | 20%
|  | Total - DATA | TOTAL EXCLUDING VAT |  |  | 0 |  |  | 120922.58 | TOTAL | 156798.9302 | 22.88%
#DIV/0!
|  |  | Matrial Cost | 83522.58
|  |  | Matrial Selling Price | 110048.9302

## Data BOQ
S.# | Item Code | Item Description | UOM | Qty
* | Copper Solution - : |  | 1735
1 | 19145400DL | Cat 6A Data Cable F/FTP 4 Pairs,500MHz, FRNC/LS0H Sheath, Orange Color (500 Meter/Roll) -Datwyler. | Ea | 246
2 | 418019 | 24 Ports Cat 6A Patch Panel 19" 1U,Shielded, Empty, Black Color -Datwyler. | Ea | 89
3 | 4000699 | 1U Cable Mangment 19" with Cover -Datwyler. | Ea | 89
4 | 418069 | Cat 6A RJ45-Module Shielded, KS-Keystone Plus(IEC) TIA-B - Datwyler. | Ea | 2136
5 | 418069 | Cat 6A RJ45-Module Shielded, KS-Keystone Plus(IEC) TIA-B - Datwyler. | Ea | 1379
6 |  | RJ 45 FOR CAT6A | Ea | 500
7 | 653508 | Cat 6A Patch Cord Shielded, FRNC/LS0H Sheath ,Grey Color, 1 Meter -Datwyler. | Ea | 2136
8 | 653512 | Cat 6A Patch Cord Shielded, FRNC/LS0H Sheath , Grey Color,3Meter -Datwyler. | Ea | 1379
* | Fiber Solution - :
9 | 18595900DZ | 8C Fibre Optic Cable MM(OM3-50/125µm), Loose Tube, Glass Armoured, Indoor/Outdoor LS0H Sheath -Datwyler. | Ea | 1000
10 | 41522400ZY | Fibre Patch Panel 1U 12 SC (6 SCD) Multi Mode, full Loaded with Adapters, Ceramic Sleeve and 12 Pigtails MM OM3 2meter -Datwyler. | Ea | 8
11 | 41523200ZY | Fibre Patch Panel 1U 48 SC (24 SCD) Multi Mode, full Loaded with Adapters, Ceramic Sleeve and 48 Pigtails MM OM3 2meter -Datwyler. | Ea | 2
12 | 421333 | Fibre Optic Patch Cord MM 50/125 OM3 SC-LC Duplex 3Meter -Datwyler. | Ea | 60
* | UPS- :
13 | 40014800ZY | 6 kVA Online UPS, Tower or/2U Rack Mounted (Additional Accessories), Rotable LCD screen, I/O Single Phase 230V, W/O Batteries(2 Years Warranty) | Ea | 10
14 | 40015300ZY | 6kVA Battery Back Module, Tower or/2U Rack Mounted (Additional Accessories)with Built in 20 X12V/9AH batteries (5 Minutes), (1 Year Warranty) | Ea | 20
15 | 40015600ZY | Rail Kit for 6 & 10 kVA UPS. | Ea | 30
* | Cabinet- :
16 | GS.8042.9801 | 42U GS NETWORKING CABINET 800W X 1000D | Ea | 10
17 | CT-01001 | PDU 6 WAY (UK TYPE) 13A 19" WITH 2-METER X 1.5MM CABLE & UK PLUG | Ea | 20
* | S6520X-HI_GL Switch #1- :
18 | LS-6520X-54QC-HI-GL | H3C S6520X-54QC-HI L3 Ethernet Switch(48SFP Plus+2QSFP Plus+2Slot),Without Power Supplies | Ea | 2
19 | LSWM1QSTK1 | 40G QSFP+ Cable 3m | Ea | 2
20 | PSR250-12A1-GL | 250W AC Power Supply Module (Power Panel Side Exhaust Airflow) | Ea | 4
21 | LSWM1FANSCBE | Fan Module (Fan Panel Side Exhaust Airflow) | Ea | 4
* | S5170-EI Switch #1
22 | LS-5170-54S-PWR-EI-GL | H3C S5170-54S-PWR-EI L2 Ethernet Switch with 48*10/100/1000BASE-T Ports and 6*1G/10G BASE-X SFP Plus Ports,(AC),PoE+ | Ea | 42
23 | Stack Cable | Stack Cable | Ea | 42
* | S5170-EI Switch #1
24 | LS-5170-28S-HPWR-EI-GL | H3C S5170-28S-HPWR-EI L2 Ethernet Switch with 24*10/100/1000BASE-T Ports and 4*1G/10G BASE-X SFP Plus Ports,(AC),PoE+ | Ea | 5
25 | Stack Cable | Stack Cable | Ea | 5
* | H3C WirelessACV7FitGL
26 | EWP-WX2880X | H3C WX2880X Access Controller with 10*1000BASE-T Ports and 2*SFP Plus Ports | Ea | 2
27 | SFP-XG-SX-MM850-A | SFP+ Module(850nm,300m,LC) | Ea | 4
28 | LIS-WX-16-BE | Enhanced Access Controller License,16 APs,for Verticals,for V7V9 | Ea | 0
29 | LIS-WX-64-BE | Enhanced Access Controller License,64 APs,for Verticals,for V7V9 | Ea | 2
30 | EWP-WA6520-FIT | H3C WA6520 Internal Antennas 4 Streams Dual Radio 802.11ax/ac/n Access Point,FIT | Ea | 77
* | SFP
31 | SFP-XG-SX-MM850-A | SFP+ Module(850nm,300m,LC) | Ea | 94
Total - DATA

## IP TEL-NO RED (hidden)
S.# | Item Code | Item Description | UOM | Qty | Unit Cost | Total | Unit Price | Total | %
IP OFFICE SERVER EDITION
1 | 182448 | IP OFFICE SERVER EDITION MODEL | Ea | 1 | 0 | 0 | 0 | 0 | 0% | 0
2 | 700515009 | ASP 110 DELL R240 SERVER IPO UC | Ea | 1 | 8556.09 | 8556.09 | 10695.1125 | 10695.1125 | 20% | 10696
3 | 396449 | IP OFFICE R11 SERVER EDITION LIC:DS | Ea | 1 | 4805.28 | 4805.28 | 6006.6 | 6006.6 | 20% | 6007 | VM | 4
4 | 383110 | IP OFFICE R10+ AVAYA IP ENDPOINT 1 LIC:CU | Ea | 84 | 112.8 | 9475.2 | 141 | 11844 | 20% | 141 | PC | 1
5 | 383085 | IP OFFICE R10+ SIP TRUNK 1 LIC:CU | Ea | 10 | 115.81 | 1158.1 | 144.7625 | 1447.625 | 20% | 145 | USERS | 2000
6 | 382687 | IP OFFICE R10+ RECEPTIONIST 1 LIC:CU | Ea | 1 | 930.98 | 930.98 | 1163.725 | 1163.725 | 20% | 1164
|  | WORKSTATION FOR RECEPTIONIST | [7 empty] | 0
7 | WS | Workstation for Receptionist | Ea | 1 | 7000 | 7000 | 8750 | 8750 | 20% | 8750
7 |  | MAINTENANCE COMPREHENSIVE SUPPORT MODEL |  |  |  | 0 | 0 | 0 |  | 0
8 | 271631 | IPO REM TECH SUPT 8X5 - HP DL120G7 1YPP | Ea | 1 | 1808.77 | 1808.77 | 2260.9625 | 2260.9625 | 20% | 2261
|  | IP PHONE OPTIONS | [7 empty] | 0
9 | 700512394 | J159 IP PHONE | Ea | 1 | 502.8 | 0 | 628.5 | 0 | 20% | 629
10 | 700512396 | J189 IP PHONE | Ea | 1 | 726.93 | 0 | 908.6625 | 0 | 20% | 909
11 | 700512398 | AVAYA VANTAGE CORDLESS HANDSET WIDEBAND WITH CHARGING CRADLE KIT | Ea | 1 | 209.6 | 0 | 262 | 0 | 20% | 262
12 | 700513569 | J179 IP PHONE GLOBAL NO POWER SUPPLY | Ea | 1 | 605.78 | 0 | 757.225 | 0 | 20% | 758
13 | 700513916 | J139 IP PHONE | Ea | 1 | 315 | 0 | 393.75 | 0 | 20% | 394
14 | 700514685 | AVAYA VANTAGE K175 WITH CAMERA WITH WIRELESS | Ea | 1 | 2002.66 | 0 | 2503.325 | 0 | 20% | 2504
15 | 700514687 | AVAYA VANTAGE K155 WITH CAMERA WITH WIRELESS | Ea | 1 | 1467.9 | 0 | 1834.875 | 0 | 20% | 1835
16 | 700515454 | AVAYA VANTAGE 3 CORDED HANDSET KIT | Ea | 1 | 152.41 | 0 | 190.5125 | 0 | 20% | 191
|  | Professional Services | [7 empty] | 0
17 | SRV | Programming, Testing, and Labelling | Lot | 1 | 8000 | 8000 | 10000 | 10000 | 20% | 10000
|  |  | TOTAL EXCLUDING VAT |  |  | 41734.42 | TOTAL | 52168.025 | 20%

## IP TEL (hidden)
S.# | Item Code | Item Description | UOM | Qty | Unit Cost | Total | Unit Price | Total | %
AVAYA - IP PABX
1 | 182448 | IP OFFICE SERVER EDITION MODEL | Ea | 1 | 0 | 0 | 0 | 0 | 0%
2 | 700515009 | ASP 110 DELL R240 SERVER IPO UC | Ea | 2 | 8556.09 | 17112.18 | 10695.1125 | 21390.225 | 20%
3 | 700517268 | ASBCE CORE DELL 1425 COMPACT IPO | Ea | 1 | 3509.33 | 3509.33 | 4386.6625 | 4386.6625 | 20%
4 | 407786599 | POWER CORD UNITED KINGDOM | Ea | 1 | 26.9 | 26.9 | 33.625 | 33.625 | 20%
5 | 413371 | ASBCE R10 STANDARD SERVICES SESSION IPO LIC:CU | Ea | 10 | 52.85 | 528.5 | 66.0625 | 660.625 | 20% | VM | 4
6 | 413392 | ASBCE R10 ENCRYPTION FOR IPO LIC:DS | Ea | 1 | 0 | 0 | 0 | 0 | 0% | PC | 1
7 | 396449 | IP OFFICE R11 SERVER EDITION LIC:DS | Ea | 2 | 4805.28 | 9610.56 | 6006.6 | 12013.2 | 20% | USERS | 2000
8 | 383110 | IP OFFICE R10+ AVAYA IP ENDPOINT 1 LIC:CU | Ea | 84 | 112.8 | 9475.2 | 141 | 11844 | 20%
9 | 383085 | IP OFFICE R10+ SIP TRUNK 1 LIC:CU | Ea | 10 | 115.81 | 1158.1 | 144.7625 | 1447.625 | 20%
10 | 382687 | IP OFFICE R10+ RECEPTIONIST 1 LIC:CU | Ea | 1 | 930.98 | 930.98 | 1163.725 | 1163.725 | 20%
WORKSTATION FOR RECEPTIONIST
11 | WS | Workstation for Receptionist | Ea | 1 | 7000 | 7000 | 8750 | 8750 | 20%
|  | MAINTENANCE COMPREHENSIVE SUPPORT MODEL |  |  |  | 0 | 0 | 0
12 | 271631 | IPO REM TECH SUPT 8X5 - HP DL120G7 1YPP | Ea | 2 | 1808.77 | 3617.54 | 2260.9625 | 4521.925 | 20%
13 | 349162 | IPO REM TECH SUPT 8X5 - ASBCE PORTWELL CAT8 1YPP | Ea | 1 | 1560.43 | 1560.43 | 1950.5375 | 1950.5375 | 20%
IP PHONE OPTIONS
14 | 700512394 | J159 IP PHONE | Ea | 1 | 502.8 | 502.8 | 628.5 | 628.5 | 20%
15 | 700512396 | J189 IP PHONE | Ea | 1 | 726.93 | 726.93 | 908.6625 | 908.6625 | 20%
16 | 700512398 | AVAYA VANTAGE CORDLESS HANDSET WIDEBAND WITH CHARGING CRADLE KIT | Ea | 1 | 209.6 | 209.6 | 262 | 262 | 20%
17 | 700513569 | J179 IP PHONE GLOBAL NO POWER SUPPLY | Ea | 1 | 605.78 | 605.78 | 757.225 | 757.225 | 20%
18 | 700513916 | J139 IP PHONE | Ea | 1 | 315 | 315 | 393.75 | 393.75 | 20%
19 | 700514685 | AVAYA VANTAGE K175 WITH CAMERA WITH WIRELESS | Ea | 1 | 2002.66 | 2002.66 | 2503.325 | 2503.325 | 20%
20 | 700514687 | AVAYA VANTAGE K155 WITH CAMERA WITH WIRELESS | Ea | 1 | 1467.9 | 1467.9 | 1834.875 | 1834.875 | 20%
21 | 700515454 | AVAYA VANTAGE 3 CORDED HANDSET KIT | Ea | 1 | 152.41 | 152.41 | 190.5125 | 190.5125 | 20%
Professional Services
22 | SRV | Programming, Testing, and Labelling | Lot | 1 | 10000 | 10000 | 12500 | 12500 | 20%
|  |  | TOTAL EXCLUDING VAT |  |  | 70512.8 | TOTAL | 88141 | 20%